## 7-21-2026
Product Technology | Manufacturer | BrandName | ModelNumber | Nominal Capacity (Tons) | Rated Cooling Capacity (BTU/hour) | ModelNumber2 | ModelName | Additional Model Information | Product ID | External Product ID | Data Source Name
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-006 | 6 | 72000 |  |  |  | 1542212 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-007 | 7 | 84000 |  |  |  | 1542213 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-008 | 8 | 96000 |  |  |  | 1542214 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-009 | 9 | 108000 |  |  |  | 1542215 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-010 | 10 | 120000 |  |  |  | 1542216 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RN-011 | 11 | 132000 |  |  |  | 1677631 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RQ-002 | 2 | 24000 |  |  |  | 1542207 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RQ-003 | 3 | 36000 |  |  |  | 1542208 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RQ-004 | 4 | 48000 |  |  |  | 1542209 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RQ-005 | 5 | 60000 |  |  |  | 1542210 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Aaon |  | RQ-006 | 6 | 72000 |  |  |  | 1542211 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Carrier |  | 48QE**05 | 4 | 48000 |  |  |  | 1619664 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Carrier |  | 48QE**07 | 6 | 72000 |  |  |  | 1579683 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Carrier |  | 48QE**08 | 7.5 | 90000 |  |  |  | 1579684 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Carrier |  | 48QE**09 | 8.5 | 102000 |  |  |  | 1579685 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Carrier |  | 48QE**12 | 10 | 120000 |  |  |  | 1579686 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH003B | 3 | 36000 |  |  |  | 1468988 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH004B | 4 | 48000 |  |  |  | 1468989 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH005B | 5 | 60000 |  |  |  | 1468990 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH006B | 6 | 72000 |  |  |  | 1468991 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH007B | 7.5 | 90000 |  |  |  | 1468992 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Daikin |  | DPSH010B | 10 | 120000 |  |  |  | 1468993 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Lennox |  | LDT078H4E | 6.5 | 78000 |  |  |  | 1469023 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Lennox |  | LDT092H4E | 7.5 | 90000 |  |  |  | 1469024 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Lennox |  | LDT102H4E | 8.5 | 98000 |  |  |  | 1469025 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Lennox |  | LDT122H4E | 10 | 118000 |  |  |  | 1469026 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 4DCZ5024 | 2 | 24000 |  |  |  | 1468981 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 4DCZ5036 | 3 | 36000 |  |  |  | 1468982 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 4DCZ5042 | 3.5 | 42000 |  |  |  | 1677632 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 4DCZ5048 | 4 | 48000 |  |  |  | 1468983 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 4DCZ5060 | 5 | 60000 |  |  |  | 1468984 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 5DCZ5024 | 2 | 24000 |  |  |  | 1677633 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 5DCZ5036 | 3 | 36000 |  |  |  | 1677634 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 5DCZ5042 | 3.5 | 42000 |  |  |  | 1677635 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 5DCZ5048 | 4 | 48000 |  |  |  | 1677636 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | 5DCZ5060 | 5 | 60000 |  |  |  | 1677637 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK036 | 3 | 36000 |  |  |  | 1468974 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK048 | 4 | 48000 |  |  |  | 1468975 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK060 | 5 | 60000 |  |  |  | 1468976 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK072 | 6 | 78000 |  |  |  | 1468977 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK090 | 7.5 | 95000 |  |  |  | 1468978 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK102 | 8.5 | 104000 |  |  |  | 1468979 |  | EVT Heat Pump Roof Top Unit (RTU)
Heat Pumps - Hybrid Roof Top Unit (RTU) | Trane |  | DHK120 | 10 | 121000 |  |  |  | 1468980 |  | EVT Heat Pump Roof Top Unit (RTU)